## CT_DISPATCH
Contract Name | Dispatch ID | House Number | Road | Start | End | Priority | Asset Type | Fault | Call Type | Call Status | Date Added | Contract ID | Fault Description | Completed | Dispatch Locked | Carriageway | Side | Offset | Local Area | Hierarchy | Claim Status | Item Type | General Description | Linked as Parent | Multimedia | First Name | Surname | Responded | Responded by | Running Time | Running Time Days | Fault
C18/25 Road Mtce 2019-2025 | 36478 |  | ACHILLES AVE |  |  | 1 - Fault (MMP) | Drainage(Culverts) | Catchpit Blocked | Call Centre | Complete | 2021-02-16 07:29 | 8 | Catchpit Blocked | 2021-02-22 10:25 | No | 813 |  |  | WHANGAMATA | Secondary Collector | Open | Normal | The chicane islands on achilles avenue just up from kiwi road Whangamata. Are restrictiing storm water flow and causing it to back up and spill into properties. Area checked no concerns found. | No | No |  |  | 2021-02-16 07:29 | Hollie Frater |  |  | Blocked
C18/25 Road Mtce 2019-2025 | 36494 | 208 | ACHILLES AVE | 586 |  | 1 - Fault (MMP) | Drainage(Culverts) | Culvert Blocked | Call Centre | Complete | 2021-02-16 09:01 | 8 | Culvert Blocked | 2021-02-22 10:25 | No | 817 | Left | 9.4 | WHANGAMATA | Secondary Collector | Open | Normal | Bruce Gibson - 027 7365028 Blocked storm water culvert at 208 ACHILLES AVENUE (back end of the school). Bruce is happy to locate this for you. Spoke to Bruce cess pit just inside school grounds, we have dug out the pit however there ie no out let pipes , its only w soak pit. Have showed Bruce no further action required .(job complete). Ross also had a look. Regards Colin. | No | Yes |  |  | 2021-02-16 09:01 | Hollie Frater |  |  | Blocked culvert
C18/25 Road Mtce 2019-2025 | 7351 |  | BAMBURY PL |  |  | Old Priority 3 | Drainage(Culverts) | Culvert Blocked | Call Centre | Complete | 2019-07-23 12:09 | 8 | Culvert Blocked | 2019-07-25 10:51 | No | 950 | Centre |  | WHANGAMATA | Low Volume | Open | Normal | there is a grate at the top of bambury place onemana that has apparently never been cleared - This drain is cleaned on a regular basis its just at the bottom of a hill with plenty of trees on it and blocked every down pour | No | Yes |  |  | 2019-07-23 12:09 |  |  |  | Blocked culvert
C18/25 Road Mtce 2019-2025 | 12274 | 147 | BAMBURY PL |  |  | Old Priority 2 | Drainage(Culverts) | Catchpit Blocked | Call Centre | Complete | 2019-10-18 11:51 | 8 | Catchpit Blocked | 2019-10-23 13:37 | No | 950 | Centre |  | WHANGAMATA | Low Volume | Open | Normal | drain outside 147 bambury place onemana is blocked and needs clearing again. All good now clear. | No | Yes |  |  | 2019-10-18 11:50 |  |  |  | Blocked
C18/25 Road Mtce 2019-2025 | 24410 |  | BAMBURY PL |  |  | 1 - Fault (MMP) | Drainage(Culverts) | Culvert Blocked | Call Centre | Complete | 2020-07-20 13:37 | 8 | Culvert Blocked | 2020-07-24 10:43 | No | 950 | Centre |  | WHANGAMATA | Low Volume | Open | Normal | "Onemana Storm Impact Just to let you know there is no damage or flooding at Onemana today. A couple of minor issues being roadside stormwater drain is blocked at the bottom of Bambury near the cafe, also on western side of Onemana Dr and Russell Bruce interesection and on left hand side of Russell Bruce where the footpath boardwalk is. " All ok. 24.7.20. | No | No |  |  | 2020-07-20 13:37 |  |  |  | Blocked culvert
C18/25 Road Mtce 2019-2025 | 24413 |  | BAMBURY PL |  |  | 1 - Fault (MMP) | Drainage(Culverts) | Culvert Blocked | Call Centre | Complete | 2020-07-20 13:40 | 8 | Culvert Blocked | 2020-07-24 10:26 | No | 950 | Centre |  | WHANGAMATA | Low Volume | Open | Normal | Bambury PLace Onemana RequestforServiceDetail: the drain pop the Cafe is completely blocked and flooding across half t he street All ok. 24.7.20. | No | No |  |  | 2020-07-20 13:40 |  |  |  | Blocked culvert
C18/25 Road Mtce 2019-2025 | 37007 | 118 | BAMBURY PL | 196 |  | 1 - Fault (MMP) | Drainage(Culverts) | Catchpit Blocked | Call Centre | Complete | 2021-03-07 08:00 | 8 | Catchpit Blocked | 2021-03-09 11:53 | No | 950 | Right | 6.9 | WHANGAMATA | Low Volume | Open | Normal | 118 bamburry place - 07 8659889 Storm water drains are blcoked with leaves and dirt. Checked the cess pits close by no major concerns found. | No | Yes |  |  | 2021-03-07 08:00 | Hollie Frater |  |  | Blocked
C18/25 Road Mtce 2019-2025 | 37329 | 147 | BAMBURY PL | 455 |  | 1 - Fault (MMP) | Drainage(Culverts) | Culvert Blocked | Call Centre | Complete | 2021-03-18 20:04 | 8 | Culvert Blocked | 2021-03-29 12:10 | No | 3110 | Left | 12.8 | WHANGAMATA | Low Volume | Open | Normal | Could the drain outside of 147 Brambury Place be cleared soon and also more often as there is dirt blocking the drain aswell as Pohutakawa leaves which continue to build up and block it. All clear. | No | Yes |  |  | 2021-03-18 20:04 | Hollie Frater |  |  | Blocked culvert
C18/25 Road Mtce 2019-2025 | 47629 | 101 | BAMBURY PL | 9 |  | 1 - Fault (MMP) | Drainage(Culverts) | Culvert Blocked | Call Centre | Complete | 2022-03-21 19:43 | 8 | Culvert Blocked | 2022-03-23 11:51 | No | 950 | Left | 12.2 | WHANGAMATA | Low Volume | Open | Normal | Ben called. he is the owner of the Onemana Cafe at 101 bambury Place Onemana. The road drain is blocked on the opposite side from him. Water is flooding the road. | No | Yes |  |  | 2022-03-21 19:43 | Hollie Frater |  |  | Blocked culvert
C18/25 Road Mtce 2019-2025 | 56526 | 101 | BARBARA AVE | 27 |  | 1 - Fault (MMP) | Drainage(Culverts) | Culvert Blocked | Call Centre | Complete | 2023-02-19 08:26 | 8 | Culvert Blocked | 2023-02-21 11:15 | No | 775 | Left | 10.7 | WHANGAMATA | Secondary Collector | Open | Normal | Lin Street came in to advise the drains keep blocking up on the service lane. Can these be cleared please. Taken 101C Barbara Avenue Whangamata This is not owner issues as there is no cespits in this area | No | No |  |  | 2023-02-19 08:26 | Hollie Frater |  |  | Blocked culvert
C18/25 Road Mtce 2019-2025 | 2576 |  | CASEMENT RD |  |  | Old Priority 2 | Drainage(Culverts) | Catchpit Blocked | Call Centre | Complete | 2019-05-08 10:14 | 8 | Catchpit Blocked | 2019-05-09 07:41 | No | 766 | Centre |  | WHANGAMATA | Secondary Collector | Open | Normal | casement road whangamata - the stormwater drains are blocked up with leaves and residents are concerned that if there is heavy rain there will be flooding again. Please investigate / clear. All drains checked and clear on casement rd ....showen in photos | No | Yes |  |  | 2019-05-08 10:13 |  |  |  | Blocked
C18/25 Road Mtce 2019-2025 | 55049 | 114 | CASEMENT RD | 179 |  | Urgent (MMP) | Drainage(Culverts) | Catchpit Blocked | Call Centre | Complete | 2022-12-06 20:13 | 8 | Catchpit Blocked | 2022-12-07 12:44 | No | 767 | Right | 10.4 | WHANGAMATA | Access | Open | Normal | 114 Casement Road, Whangamata has just noticed that the 2 drians outside the property are still full of water and debris, can we look at clearing these. There was road surface flooding during last heavy rainfalls. Have checked drain and outlets for blockages there are none apparent. | No | Yes |  |  | 2022-12-06 20:13 | Hollie Frater |  |  | Blocked
C18/25 Road Mtce 2019-2025 | 4450 | 203 | CHARTWELL AVE (NORTHBOUND) |  |  | Old Priority 2 | Drainage(Culverts) | Catchpit Blocked | Call Centre | Complete | 2019-06-04 10:01 | 8 | Catchpit Blocked | 2019-06-05 07:29 | No | 927 | Centre |  | WHANGAMATA | Access | Open | Normal | Complainant is Allan Woods, owns a house at 203 Chartwell Ave in Whangamata. I was talking to Allan about a pool fencing issue and he raised his concern regarding storm water coming off the road and flooding his garage. Allan said he's had multiple insurance claims with damage from the water. He was down at the address recently and notice that a cesspit near his dwelling had almost been sealed over. Drain is clear and have removed leaves from gutter | No | Yes |  |  | 2019-06-04 10:00 |  |  |  | Blocked
C18/25 Road Mtce 2019-2025 | 24412 | 114 | CHARTWELL AVE (NORTHBOUND) |  |  | 1 - Fault (MMP) | Drainage(Culverts) | Culvert Blocked | Call Centre | Complete | 2020-07-20 13:40 | 8 | Culvert Blocked | 2020-07-24 10:07 | No | 927 | Centre |  | WHANGAMATA | Access | Open | Normal | "114 Chartwell Avenue, Whangamata - Barbara Choat - Customer reports blocked stormwater drain outside of the above property. Please can this be investigated and rectified. Thank you Taken by: Carole McDowall Taken on: 17/07/2020 11:52 a.m. Water has dissipated at moment but grate blocked with detritus. This is a renound flooding area" All ok. 24.7.20. | No | No |  |  | 2020-07-20 13:39 |  |  |  | Blocked culvert
C18/25 Road Mtce 2019-2025 | 22651 |  | DURRANT DR |  |  | 1 - Fault (MMP) | Drainage(Culverts) | Culvert Blocked | Call Centre | Complete | 2020-06-04 13:18 | 8 | Culvert Blocked | 2020-06-17 11:15 | No | 843 | Centre |  | WHANGAMATA | Secondary Collector | Open | Normal | Storm Water Catchpits are all blocked down Durrant Drive. They are all clear. | No | Yes |  |  | 2020-06-04 13:18 |  |  |  | Blocked culvert
C18/25 Road Mtce 2019-2025 | 2025 | 8 | ESPLANADE DR |  |  | Old Priority 3 | Drainage(Culverts) | Catchpit Blocked | Call Centre | Complete | 2019-05-02 07:31 | 8 | Catchpit Blocked | 2019-05-03 08:25 | No | 1561 | Centre |  | WHANGAMATA | Access | Open | Normal | 8 & 9 The Esplande Whitianga - Catchpit is smelling again, Please clean catchpit Up grade in progress with Dempsey Wood including catchpit in question. | No | Yes |  |  | 2019-05-02 07:30 |  |  |  | Blocked
C18/25 Road Mtce 2019-2025 | 50903 | 101 | ESTUARY VIEW | 0 |  | 1 - Fault (MMP) | Drainage(Culverts) | Catchpit Blocked | Call Centre | Complete | 2022-07-24 11:43 | 8 | Catchpit Blocked | 2022-07-27 13:36 | No | 3144 | Right | 8.9 | WHANGAMATA | Low Volume | Open | Normal | Alex // 101-103 ESTUARY VIEW, WHANGAMATA // 021 202 8111 There is a driveway on the above road that is stone and every time it rains it washes down into the gutter and stormwater drain. Can this please be cleared and to note this is an ongoing issue with this property with any rain weather event. Cyclic to clear metal from cesspit - metal coming from private driveway Done job | No | No |  |  | 2022-07-24 11:43 | Hollie Frater |  |  | Blocked
C18/25 Road Mtce 2019-2025 | 42605 | 329 | GIVEN AVE | 608 |  | 1 - Fault (MMP) | Drainage(Culverts) | Catchpit Blocked | Call Centre | Complete | 2021-09-21 11:59 | 8 | Catchpit Blocked | 2021-09-27 11:43 | No | 703 | Left | 10.4 | WHANGAMATA | Low Volume | Open | Normal | Allan Hickman called to report that there is a tree growing out of the sump - (road drain) on the corner of Sylvia Road & Given Ave - he advises that you can clearly see the tree and roots and that this maybe why the place is flooding. He lives at 329 Given Ave and has watched the tree grow. he would like an email update when a decision has been made about what to do about it please. Area checked small plant removed , cess pit had been dug out to the concrete base ,note both outlet pipes were clear. | No | Yes |  |  | 2021-09-21 11:59 | Hollie Frater |  |  | Blocked
C18/25 Road Mtce 2019-2025 | 46194 | 327 | GIVEN AVE | 590 |  | 1 - Fault (MMP) | Drainage(Culverts) | Catchpit Blocked | Call Centre | Complete | 2022-02-09 20:20 | 8 | Catchpit Blocked | 2022-02-18 11:14 | No | 703 | Left | 10.4 | WHANGAMATA | Low Volume | Open | Normal | Susan Patterson of 327 Given Avenue, Whangamata, advised for years when it rains it floods outside her property. The water disappears after about 20 minutes in to the sand. There are two soak holes that need looking at as the water has nowhere to go and when there is a lot of water it is dangerous for vehicles. Ok this Lady has a point, yes water does pond in this area , however cess pits are ok, due to the lay of the land and being a low lying area water does pond. Note some of the road verges have been filled in the past to try and displace water. | No | Yes |  |  | 2022-02-09 20:20 | Hollie Frater |  |  | Blocked
C18/25 Road Mtce 2019-2025 | 11083 | 1 | GOVERNORS HGTS | 66 |  | Old Priority 2 | Drainage(Culverts) | Culvert Water blasting | Call Centre | Entered | 2019-09-24 13:53 | 8 | Culvert Water blasting |  | No | 1829 | Left | 5.9 | WHANGAMATA | Low Volume | Open | Normal | Please remove sediment build up from catchpits and outlet for assets outside 1a Governors Heights. Cath pits 201,263 is almost full with sediment and debris. Outlet needs clearing as large amounts of sediment have been deposited in stream causing obstruction. I programmed these catch pit to be sucker tricked some time ago there about six feet deep and impossible to dig out they need sucking | No | No |  |  | 2019-09-24 13:52 |  |  |  | Blocked culvert
C18/25 Road Mtce 2019-2025 | 43107 | 24 | HERBERT DR (NORTHBOUND) |  |  | 1 - Fault (MMP) | Drainage(Culverts) | Culvert Blocked | Call Centre | Complete | 2021-10-11 12:28 | 8 | Culvert Blocked | 2021-10-14 12:24 | No | 1834 |  |  | WHANGAMATA | Low Volume | Open | Normal | 24 herbert drive whangamata - stormwater drain has been blocked for some time and needs clearing. Area checked no problems found. | No | Yes |  |  | 2021-10-11 12:28 | Hollie Frater |  |  | Blocked culvert
C18/25 Road Mtce 2019-2025 | 22650 | 221 | KIWI RD |  |  | 1 - Fault (MMP) | Drainage(Culverts) | Culvert Blocked | Call Centre | Complete | 2020-06-04 13:17 | 8 | Culvert Blocked | 2020-06-19 10:47 | No | 861 | Centre |  | WHANGAMATA | Low Volume | Open | Normal | We have raised the issue of flooding on Kiwi road before, a new drain was put in out the front of 221 Kiwi Road but it must be blocked as it never does anything. I have attached some photos to show the water not draining and the last one is the water further down the road with a functioning drain. The cars driving down the road, frequently lose control driving through the puddles and it is very dangerous. Can something be done please? Yep something is getting done kerb and Chanel is getting replaced, including new drainage , cess pit cleared out side 221. | No | Yes |  |  | 2020-06-04 13:16 |  |  |  | Blocked culvert
C18/25 Road Mtce 2019-2025 | 56512 |  | LINDSAY RD |  |  | 1 - Fault (MMP) | Drainage(Culverts) | Catchpit Blocked | Call Centre | Complete | 2023-02-17 17:46 | 8 | Catchpit Blocked | 2023-02-21 11:57 | No | 884 |  |  | WHANGAMATA | Low Volume | Open | Normal | "Lindsay Road, Whangamata Details: Ngaire owns the property that the Whangamata depot backs onto. She advises that when the drain in the depot blocks it floods onto her property, she is concerned that the drain will get blocked with sand due to the sandbag filling there and would like someone to check to make sure the drain does not block." This appears to be private | No | No |  |  | 2023-02-17 17:46 | Alex McMillan |  |  | Blocked
C18/25 Road Mtce 2019-2025 | 2929 | 107 | MARK ST |  |  | Old Priority 2 | Drainage(Culverts) | Catchpit Blocked | Call Centre | Complete | 2019-05-14 17:32 | 8 | Catchpit Blocked | 2019-05-20 09:03 | No | 911 | Centre |  | WHANGAMATA | Low Volume | Open | Normal | the gutters on mark street whangamata especially outside 107 are full of silt and need clearing please. Chris will pick up power broom tomorrow to do this job Whole road completed with power broom job completed | No | No |  |  | 2019-05-14 17:31 |  |  |  | Blocked
C18/25 Road Mtce 2019-2025 | 23871 | 302 | MARTYN RD |  |  | 1 - Fault (MMP) | Drainage(Culverts) | Catchpit Inspection Clear | Call Centre | No Action Required | 2020-07-06 10:14 | 8 | Catchpit Inspection Clear | 2020-07-29 08:19 | No | 746 | Centre |  | WHANGAMATA | Secondary Collector | Open | Normal | 302 martyn road whangamata - new owner in last 3 months - when there is rain the stormwater drain on corner of casement and martyn is not working correctly and the puddle backs up Martyn road and goes over the footpath and into his property and garage. He thinks that asset ID 301,926 is too high and he says there is another grate in front of 225 casement road which is on the council berm but not on the maps. Can this please be assessed. Drainage seems to be ok, the property affected is lower than the road as a consequence there will be some water ingress. Suggest moniter the area with the support with the assistance of our number one roading &drainage inspector. Regards Colin.7.7.20. | No | Yes |  |  | 2020-07-06 10:14 |  |  |  | Blocked
C18/25 Road Mtce 2019-2025 | 49354 | 151 | MAYFAIR AVE | 181 | 183 | 1 - Fault (MMP) | Drainage(Culverts) | Catchpit Blocked | Call Centre | Started Work | 2022-06-08 13:54 | 8 | Catchpit Blocked |  | No | 925 | Right | 9.4 | WHANGAMATA | Secondary Collector | Open | Normal | Between 151A Mayfair Ave Whangamata - from the corner meters down The gutting is full of sand and needs cleaning when it rains 1/2 the street floods right on the corner | No | Yes |  |  | 2022-06-08 13:54 | Hollie Frater |  |  | Blocked
C18/25 Road Mtce 2019-2025 | 55316 | 137 | MCKELLAR PL | 305 |  | 1 - Fault (MMP) | Drainage(Culverts) | Culvert Blocked | Call Centre | Complete | 2022-12-18 16:52 | 8 | Culvert Blocked | 2022-12-19 13:12 | No | 611 | Left | 6.6 | WHANGAMATA | Low Volume | Open | Normal | Nicky rang to say the culvert outside her house is blocked, the contractors came and weed whacked the grass and the grass has gone into the culvert which is now full and any rain does not go down, the culvert has been blocked for a week. 137 McKellar Place Whangamata catchpit cleared | No | Yes |  |  | 2022-12-18 16:52 | Hollie Frater |  |  | Blocked culvert
C18/25 Road Mtce 2019-2025 | 34234 | 105 | MOOLOO CRES |  |  | 1 - Fault (MMP) | Drainage(Culverts) | Culvert Blocked | Call Centre | Complete | 2020-11-28 20:28 | 8 | Culvert Blocked | 2020-12-07 09:07 | No | 779 | Centre |  | WHANGAMATA | Low Volume | Open | Normal | Mrs Mackenzie from 105a Mooloo Crescent came in to advise that the road drain outside is full of silt, debris and has grass growing out of it. Plus outside 102 mooloo cres. Please can you clean this? Cess pits checked and djg out. | No | Yes |  |  | 2020-11-28 20:28 |  |  |  | Blocked culvert
C18/25 Road Mtce 2019-2025 | 23941 | 112 | NGATIPU PL |  |  | Urgent (MMP) | Drainage(Culverts) | Catchpit Blocked | Call Centre | Complete | 2020-07-07 06:56 | 8 | Catchpit Blocked | 2020-07-27 14:00 | No | 835 | Centre |  | WHANGAMATA | Low Volume | Open | Normal | Mr Clare phoned to say his property 112D Ngati Pu Place was flooded last week, due to the the rain he would like the Culvert (grated) at the end of the cul de sac of Ngati Pu Place whangamata to be checked and cleared- please Area checked seems ok, grate and Catch pit are both clear, no action reqd. ( also viewed by Ross ) regards Colin. | No | Yes |  |  | 2020-07-10 08:54 |  |  |  | Blocked
C18/25 Road Mtce 2019-2025 | 9319 | 121 | ONEMANA DR (EASTBOUND) |  |  | Old Priority 2 | Drainage(Culverts) | Catchpit Blocked | Call Centre | Complete | 2019-08-27 07:27 | 8 | Catchpit Blocked | 2019-08-30 09:46 | No | 3019 | Centre |  | WHANGAMATA | Access | Open | Normal | Hi there I am a permanent resident at Onemana beach and I would like to know who's responsibility is it to clear the storm drains ? The one outside our place is constantly full of leaves and rubbish am i am always having to clean it out Clover cleared job completed | No | Yes |  |  | 2019-08-27 07:26 |  |  |  | Blocked
C18/25 Road Mtce 2019-2025 | 46898 | 334 | ONEMANA DR (EASTBOUND) | 959 |  | 1 - Fault (MMP) | Drainage(Culverts) | Catchpit Blocked | Call Centre | Complete | 2022-02-28 14:08 | 8 | Catchpit Blocked | 2022-03-14 11:23 | No | 963 | Right | 7.6 | WHANGAMATA | Access | Open | Normal | Coiln Hughes came into council to reques that the road drains from 334 -440 Onemana Drive be cleaned before there is a down pour and flooding. Top off the hill at 440 etc looks good, however the bank further down requires parks and reserves to sort or ourselves ( traffic required) and let's clean it once and knock all the vegetation back. | No | Yes |  |  | 2022-02-28 14:08 | Hollie Frater |  |  | Blocked
C18/25 Road Mtce 2019-2025 | 47026 | 331 | ONEMANA DR (EASTBOUND) | 1245 |  | 1 - Fault (MMP) | Drainage(Culverts) | Catchpit Blocked | Call Centre | Complete | 2022-03-04 12:02 | 8 | Catchpit Blocked | 2022-03-30 19:50 | No | 963 | Left | 7.6 | WHANGAMATA | Access | Open | Normal | From 331 Onemana Dr down the hill to the corner with the mirror - the gutters on both sides of the road are filled with leaves and the drains are blocked. See hollie about this - we either need to use Tonks at the end of the month or shovel this material up to clear the kerb and channel. Large section cleared by hand , sweeper truck has swept chanell , looking better however lots more foliage needs to be removed. | No | Yes |  |  | 2022-03-04 12:02 | Hollie Frater |  |  | Blocked
C18/25 Road Mtce 2019-2025 | 12279 | 269 | OPOUTERE RD |  |  | Old Priority 3 | Drainage(Culverts) | Culvert Blocked | Call Centre | Complete | 2019-10-18 13:59 | 8 | Culvert Blocked | 2019-10-22 12:45 | No | 940 | Centre |  | WHANGAMATA | Secondary Collector | Open | Normal | corner Wharekawa Place - 269 Opoutere Road Opoutere - Blocked drain just outside of this property on the corner of Wharekawa Place. This will need to be maintained regularly as this keeps happening. Catch pit cleared Note. Can this please be verified if this is the area of concern. Regards Colin. | No | Yes |  |  | 2019-10-18 13:58 |  |  |  | Blocked culvert
C18/25 Road Mtce 2019-2025 | 18054 | 269 | OPOUTERE RD |  |  | 1 - Fault (MMP) | Drainage(Culverts) | Catchpit Blocked | Call Centre | Complete | 2020-02-05 06:55 | 8 | Catchpit Blocked | 2020-05-01 08:48 | No | 940 | Centre |  | WHANGAMATA | Secondary Collector | Open | Normal | 2 Wharekawa Place, Opoutere - Jan Staal - Please see RFS # 954227 from 17 October 2019 - Customer advises that this culvet has not been cleared since his request in October. Culvet is on the courner of Wharekawa Place and Oputere Road. A note was made on the last RFS that this culvet is to be cleared regularly, but has not been done for some time. Please can this be investigated and the culvet cleared as soon as possible. I think this is on Opoutere Road, we (BRS) do not maintain Wharekawa Place, so if it is on Wharekawa place please let me know as they maintain there own road. Hi Hollie I talked to the home owner, what these guys want is a culvert at the end of their drive so that water can flow under their drive way. This would at least 2 x culvert pipes and a digger. These are are the images that have the post box in it. Further to that I have checked all the close culverts these seems to be clear on observation but may need waterblasting to clear them either along their length. These are the other photos with the culvert marker posts. | No | Yes |  |  | 2020-02-05 06:51 |  |  |  | Blocked
C18/25 Road Mtce 2019-2025 | 30135 | 269 | OPOUTERE RD | 28 | 48 | 2H - Developing fault unlikely (MMP) | Drainage(Culverts) | Culvert Blocked | Call Centre | Complete | 2020-09-10 15:01 | 8 | Culvert Blocked | 2020-09-24 09:15 | No | 940 | Right | 8.3 | WHANGAMATA | Secondary Collector | Open | Normal | Jan Staal Address 2 Wharekoho Road Phone: 0220656980 Notes: Please refer to RFS 934139. corner Wharekawa Place - 269 Opoutere Road Opoutere - Blocked drain just outside of this property on the corner of Wharekawa Place. This will need to be maintained regularly as this keeps happening. Ref RFS- 954227 Taken by: Sharene Kingi Ok the story is as per the photos yes there is a drain, which starts at the bottom of the driveway (private road with steel grating) the drain exits into the estuary, the residents concern (Jan Staal) is that on the estuary side the drain has built up with sediment and is over growen can this please be cleared ???? Apparently this has been done in the past aprox two years ago? This impacts on his end of the drain. Culvert/cesspit is clear. Mangroves trimming is not a roading issue. | No | Yes |  |  | 2020-09-10 15:01 | Hollie Frater |  |  | Blocked culvert
C18/25 Road Mtce 2019-2025 | 35195 |  | OPOUTERE RD | 1098 |  | 1 - Fault (MMP) | Drainage(Culverts) | Culvert Inspection Clear | Call Centre | Complete | 2021-01-15 09:04 | 8 | Culvert Inspection Clear | 2021-01-15 09:04 | No | 940 | Centre |  | WHANGAMATA | Secondary Collector | Open | Normal |  | No | Yes | Drainage | Inspector | 2021-01-15 09:03 | Drainage Inspector |  |  | Blocked culvert
C18/25 Road Mtce 2019-2025 | 9544 |  | PHILOMEL RD |  |  | Old Priority 2 | Drainage(Culverts) | Catchpit Blocked | Call Centre | Complete | 2019-09-02 09:50 | 8 | Catchpit Blocked | 2019-09-11 13:01 | No | 800 | Centre |  | WHANGAMATA | Access | Open | Normal | the stormwater drain on the corner of philomel and achilles ave whangamata (near the give way sign) is blocked and needs clearing Both catch pits checked and clear | No | Yes |  |  | 2019-09-02 09:50 |  |  |  | Blocked
C18/25 Road Mtce 2019-2025 | 4866 | 427 | PORT RD |  |  | Old Priority 2 | Drainage(Culverts) | Catchpit Blocked | Call Centre | Complete | 2019-06-11 07:18 | 8 | Catchpit Blocked | 2019-06-19 09:40 | No | 292 | Centre |  | WHANGAMATA | Primary Collector | Open | Normal | Leaves that are dropping causing a mess outside Ata's shop - block of shops. This is causing a blockage within the Storm water catchpits. Could the catch pits and leaves be cleared. Pit checked and clear job complete | No | Yes |  |  | 2019-06-11 07:18 |  |  |  | Blocked
C18/25 Road Mtce 2019-2025 | 5868 | 634 | PORT RD |  |  | Old Priority 2 | Drainage(Culverts) | Culvert Blocked | Call Centre | Complete | 2019-06-28 06:51 | 8 | Culvert Blocked | 2019-07-02 13:09 | No | 292 | Centre |  | WHANGAMATA | Primary Collector | Open | Normal | Dean Williams came in to advise that the stormwater drains (gutters) are clogged with mud along the service lane behind 634 Port Road and they need to be cleared out. 50m in length gutter filled with dirt and grass Job completed | No | Yes |  |  | 2019-06-28 06:51 |  |  |  | Blocked culvert
C18/25 Road Mtce 2019-2025 | 56529 |  | PORT RD |  |  | Safety (MMP) | Drainage(Culverts) | Catchpit Clear | Call Centre | Complete | 2023-02-19 08:31 | 8 | Catchpit Clear | 2023-02-21 10:17 | No | 292 |  |  | WHANGAMATA | Primary Collector | Open | Normal | "Stormater grate outside the green liquor store (Bottle O) on the corner of Hunt and Port Road is broken and could be very dangerous if someone was to fall into it. Can this please be replaced asap?" Replaced broken grate | No | Yes |  |  | 2023-02-19 08:31 | Hollie Frater |  |  | Blocked
C18/25 Road Mtce 2019-2025 | 38834 | 620 | PORT RD |  |  | Urgent (MMP) | Drainage(Culverts) | Catchpit Blocked | Call Centre | Dispatched | 2021-06-01 13:25 | 8 | Catchpit Blocked |  | No | 292 |  |  | WHANGAMATA | Primary Collector | Open | Normal | The stormwater drain in the footpath outside the TCDC Whangamata office at 620 Port Road is blocked and holding water. Please can you sort this? Catch pit has been dug out .However there is a side drain located near the top which will require further investigation possibly needs to be water blasted. | No | Yes |  |  | 2021-06-01 13:25 | Hollie Frater |  |  | Blocked
C18/25 Road Mtce 2019-2025 | 47902 |  | PORT RD |  |  | 1 - Fault (MMP) | Drainage(Culverts) | Catchpit Blocked | Call Centre | Dispatched | 2022-03-31 15:43 | 8 | Catchpit Blocked |  | No | 292 |  |  | WHANGAMATA | Primary Collector | Open | Normal | The drains in footpath outside Council Office and Food Express are always full and overflowing with even a slight rain' Suggest a water blaster the small drain in the footpath must lead to the street somewhere there is several catch pits could be improved if the suction truck is available in the future. | No | No |  |  | 2022-03-31 15:43 | Hollie Frater |  |  | Blocked
C18/25 Road Mtce 2019-2025 | 36190 |  | PORT RD |  |  | 1 - Fault (MMP) | Drainage(Culverts) | Catchpit Blocked | Call Centre | Complete | 2021-02-02 19:59 | 8 | Catchpit Blocked | 2021-02-03 06:33 | No | 292 |  |  | WHANGAMATA | Primary Collector | Open | Normal | 6/701 Port Road, Whangamata Details: Mark is the owner of Incognito and has had a call from the manager in regards to an eyewatering smell that they believe may be a dead animal that has become stuck in the storm water drain that is located in the service lane behind their restaurant. The access to the service lane is on Casement Road. Contact for the restaurant will be Valerie Chapman, 022 477 5441. This was originally logged with the Waikato Regional Council, who advised that there is nothing they can do at their end and that this is one for TCDC. Ross and myself have checked this area and the only cess pit in close proximity is in a private car park directly behind the cafe, which does not seem to be of any major concern, could have possible build up from an inhouse insinkerator. | No | No |  |  | 2021-02-02 19:59 | Hollie Frater |  |  | Blocked
C18/25 Road Mtce 2019-2025 | 45843 | 616 | PORT RD | 0 |  | 1 - Fault (MMP) | Drainage(Culverts) | Catchpit Blocked | Public | Complete | 2022-01-24 14:25 | 8 | Catchpit Blocked | 2022-02-18 11:14 | No | 292 | Centre | 0 | WHANGAMATA | Primary Collector | Open | Normal | The stormwater catchpit outside 616 Port Road is in need of attention please. Pics attached. The grate has shifted and so there is a trip hazard and potentially a fall hazard for children if it shifts any further. There is also rubbish in it so needs a bit of a clear out. Grate checked back in place. | No | Yes |  |  | 2022-01-24 14:25 | Hollie Frater |  |  | Blocked
C18/25 Road Mtce 2019-2025 | 42579 | 102 | RANFURLY RD | 37 |  | Urgent (MMP) | Drainage(Culverts) | Catchpit Blocked | Call Centre | Complete | 2021-09-19 13:38 | 8 | Catchpit Blocked | 2021-09-21 10:57 | No | 777 | Left | 8.5 | WHANGAMATA | Low Volume | Open | Normal | came in to advise that the stormwater on the corner of Winifred Avenue and Ranfurly Road is inadequate. Please see photo attached. There is quite a lot of pooling on the road. He is currently doing subdivision work for 307 Winifred Avenue and the stormwater keeps flowing into the building site collapsing the footings. Please can you look into this as soon as possible as it is a real issue. Looks like there are 2x cesspits opposite each other opposite 102 Ranfurly Road, are these clear and is the culvert that runs underneth the road blocked? Have checked this area ,there is no apparent problem with the cesspits in this general area they do not require digging out, they also have baffles on them, please refer to a drainage plan for further advice. | No | Yes |  |  | 2021-09-19 13:38 | Hollie Frater |  |  | Blocked
C18/25 Road Mtce 2019-2025 | 37325 | 127 | RANGITUIA ST | 286 |  | 1 - Fault (MMP) | Drainage(Culverts) | Catchpit Blocked | Call Centre | Complete | 2021-03-18 19:43 | 8 | Catchpit Blocked | 2021-03-31 07:55 | No | 3023 | Left | 49.2 | WHANGAMATA | Access | Open | Normal | mud has blocked the storm water drain. At the bottom of the driveway of 127 Rangitua street Whangamata. Area checked all clear. | No | Yes |  |  | 2021-03-18 19:43 | Hollie Frater |  |  | Blocked
C18/25 Road Mtce 2019-2025 | 33787 | 128 | RANGITUIA ST |  |  | 1 - Fault (MMP) | Drainage(Culverts) | Catchpit Blocked | Call Centre | Complete | 2020-11-13 11:41 | 8 | Catchpit Blocked | 2020-11-19 11:30 | No | 3023 | Centre |  | WHANGAMATA | Access | Open | Normal | drain outside 126 / 128 rangituia street whangamata - there is a roading catchpit filling up with dirt and grass - please investigate / clear - Drain is now clear suggest the drain is sprayed to ensure regrowth does not return. | No | Yes |  |  | 2020-11-13 11:41 |  |  |  | Blocked
C18/25 Road Mtce 2019-2025 | 23679 | 100 | SEAVIEW RD |  |  | 1 - Fault (MMP) | Drainage(Culverts) | Culvert Blocked | Call Centre | Complete | 2020-06-30 09:33 | 8 | Culvert Blocked | 2022-06-21 10:35 | No | 641 | Centre |  | WHANGAMATA | Low Volume | Open | Normal | Blocked Storm-water Culvert We have a blocked storm water drain at the driveway entrance to the property. With resent storms we are now more concerned with risk of flooding. We have previously lodged a request (via the website) to have the culvert cleaned. We are aware that Council may have other priorities, Could we please have a confirmation that he work will be scheduled. 100A Seaview Road Whangamata Note catch pit had a cloth inserted with in the structure, after consultion this has been removed the catch pit is very deep, 1.8 meters and is clear hovever there is a pipe at 1.2 metres ( pipe centre) suggest that run a water blaster down the pipe . Note: The pipe is 1.2 metres down . That would be the only way to test the drainage. Regards Colin. 3.1.20. | No | Yes |  |  | 2020-06-30 09:33 | Hollie Frater |  |  | Blocked culvert
C18/25 Road Mtce 2019-2025 | 22655 | 100 | SEAVIEW RD |  |  | 1 - Fault (MMP) | Drainage(Culverts) | Culvert Blocked | Call Centre | Complete | 2020-06-04 13:54 | 8 | Culvert Blocked | 2020-06-08 08:57 | No | 641 | Centre |  | WHANGAMATA | Low Volume | Open | Normal | 100A Seaview Road Whangamata - I just wanted to place a request to have the culvert located on Seaview Whangamata unblocked. It is located outside the gate to 100A Seaview Road Whangamata. Catch pit dug out to the sediment cloth level. Now clear. | No | Yes |  |  | 2020-06-04 13:54 |  |  |  | Blocked culvert
C18/25 Road Mtce 2019-2025 | 13278 |  | SYLVIA RD |  |  | Old Priority 2 | Drainage(Culverts) | Catchpit Blocked | Call Centre | Complete | 2019-11-07 19:20 | 8 | Catchpit Blocked | 2019-11-12 08:08 | No | 635 | Centre |  | WHANGAMATA | Low Volume | Open | Normal | "Mrs Rosemary called in to the whangamata office to request that Sylvia Road be tidied up with kerb and channelling. The road is a mess espeacailly when it rains. There are trees growing out of drains. The rest of the town gets attention but this road could do with some attention. She will be sending in photos to show how bad it is. Taken by: Charlotte Maunder Taken on: 9/10/2019 2:59 p.m. BRS to please clear catchpits and kerb and channel along Sylvia Road and Given Grove Have tried to call customer to inform her but number would not work" Note Sylvia road does not have kerb and channel. (hence the complaint). This area is known to be a low lying area and surface water does pool in several different areas. All cess pits checked and cleared no major problems found. Regards Colin. 12.11.19. | No | Yes |  |  | 2019-11-07 19:20 |  |  |  | Blocked
C18/25 Road Mtce 2019-2025 | 57171 |  | TE TUTU ST |  |  | 1 - Fault (MMP) | Drainage(Culverts) | Culvert Blocked | Call Centre | Complete | 2023-03-01 19:49 | 8 | Culvert Blocked | 2023-03-07 12:49 | No | 3026 |  |  | WHANGAMATA | Access | Open | Normal | Keith Collins came in to advise there is a soakhole on the corner of Rangituia Street and Te Tutu Street in Whangamata that is full of silt and weeds growing over 1m high. | No | Yes |  |  | 2023-03-01 19:49 | Hollie Frater |  |  | Blocked culvert
C18/25 Road Mtce 2019-2025 | 57177 |  | TUCK RD |  |  | 1 - Fault (MMP) | Drainage(Culverts) | Culvert Blocked | Call Centre | Dispatched | 2023-03-01 19:59 | 8 | Culvert Blocked |  | No | 887 |  |  | WHANGAMATA | Low Volume | Open | Normal | Clare Ormerod came in to request soakpits on Tuck Road near Rutherford Road end be cleaned. to scruffy domes full of water appears to be sock pits | No | Yes |  |  | 2023-03-01 19:59 | Hollie Frater |  |  | Blocked culvert
C18/25 Road Mtce 2019-2025 | 49104 |  | WAIREKA PL |  |  | 1 - Fault (MMP) | Drainage(Culverts) | Culvert Blocked | Call Centre | Complete | 2022-05-31 20:33 | 8 | Culvert Blocked | 2022-06-01 13:12 | No | 840 |  |  | WHANGAMATA | Low Volume | Open | Normal | "Waireka place Whangamata At the entrance of Waireka Place there is a blocked drain that need clearing and it is causing flooding " Sorted. | No | Yes |  |  | 2022-05-31 20:33 | Hollie Frater |  |  | Blocked culvert
C18/25 Road Mtce 2019-2025 | 11924 | 119 | WATTLE PL |  |  | Old Priority 2 | Drainage(Culverts) | Catchpit Blocked | Call Centre | Complete | 2019-10-14 06:55 | 8 | Catchpit Blocked | 2019-10-24 12:17 | No | 883 | Centre |  | WHANGAMATA | Low Volume | Open | Normal | There must be a blocked storm water drain outside out property 119 Wattle Place, Whangamata all .ok. | No | Yes |  |  | 2019-10-14 06:54 |  |  |  | Blocked
C18/25 Road Mtce 2019-2025 | 1590 | 403 | WILLIAMSON RD | 794 |  | Old Priority 2 | Drainage(Culverts) | Catchpit Inspection Clear | Call Centre | Complete | 2019-04-29 10:25 | 8 | Catchpit Inspection Clear | 2019-05-02 09:07 | No | 633 | Right | 6 | WHANGAMATA | Access | Open | Dayworks | Find and re-instate 3 grates that had been removed from Mary St, Williamson R & Pipi Rd. Secure roads signs that had been vandalized (5 signs0 | No | No |  |  | 2019-05-02 09:07 |  |  |  | Blocked